HTN Implementation Plan

Review & Gap Analysis

Cross-checked against: HTN Integration Amendments (13) + EarlyWarning/Deprescribing (EW-01–09, AD-01–10)  ·  March 2026

| Category | Status | Count | Action |
| --- | --- | --- | --- |
| Overall quality | Strong foundation — correct structure, right files, right wave assignments | — | Proceed with corrections below |
| Hard errors | Items that will produce wrong runtime behaviour if built as written | 6 | Must fix before build |
| Missing components | Entire source-document sections absent from plan | 5 | Add to plan |
| Implementation gaps | Correct component, incomplete specification | 9 | Specify before build |
| Minor corrections | Naming, numbering, migration content | 4 | Low risk, fix in review |

# Section 1 — Hard Errors (Must Fix Before Build)

These items are specified incorrectly. If built as written they will produce wrong runtime behaviour — either a missing safety gate, a false trigger, or a component that cannot function because its dependency is in the wrong location.

## Error 1 — PG-08 through PG-13 Are Entirely Missing from the Plan

Source: HTN Proposal Part 6.2 — Channel C New Protocol Guard Rules The HTN Integration Proposal specifies six Channel C rules (PG-08 through PG-13) that are P1 prerequisite for the HTN pilot: PG-08: ACEi/ARB active AND K+>5.5 AND eGFR_slope declining → HALT PG-09: beta_blocker_active AND insulin_class_active → MODIFY + mandatory SAFETY_INSTRUCTION PG-10: SGLT2i active AND SBP_7d_mean < 105 mmHg → PAUSE PG-11: Thiazide active AND K+ < 3.5 mmol/L → PAUSE PG-12: ACEi AND ARB both active (dual RAAS blockade) → HALT + SAFETY_INSTRUCTION PG-13: High-dose HCTZ (>25mg) active → MODIFY + SAFETY_INSTRUCTION These 6 rules are also in the Final Proposal's P0 items (listed as 'Channel C PG-08 through PG-13 (HTN protocol rules)'). None of them appear anywhere in the implementation plan. PG-15 (ACEi cough, plan section 2.4) depends on PG-14 being the last assigned rule ID — but PG-08 through PG-13 must come first.

Correction Required Add a new Wave 1 (P0) section: '1.X Channel C HTN Protocol Rules PG-08 through PG-13' File: vaidshala/clinical-runtime-platform/engines/vmcu/protocol_rules.yaml — add 6 YAML entries File: channel_c/context.go — add fields: SGlt2iActive, SBP7dMean, ThiazideActive, HCTZDoseMg, DualRAASActive, eGFRSlope File: channel_c/guard_test.go — 6 new test cases, one per rule Simulation scenario for dual RAAS (PG-12) — see Error 5 on missing simulation scenarios

## Error 2 — VitalFact BP Extension Fields Are Missing from the Plan

Source: HTN Proposal Part 2.2 — VitalFact BP Extension The HTN Proposal specifies 7 new VitalFact fields required for BP measurement trust: measurement_context: CLINIC ¦ HOME_DEVICE ¦ HOME_REPORTED ¦ STANDING ¦ SUPINE ¦ ABPM posture: SEATED ¦ STANDING ¦ SUPINE ¦ UNKNOWN arm: LEFT ¦ RIGHT ¦ UNKNOWN (>10 mmHg difference between arms = vascular asymmetry flag) time_of_day: MORNING ¦ AFTERNOON ¦ EVENING ¦ NIGHT consecutive_reading_index: int (reading #2 and #3 are more accurate than #1) minutes_since_last_activity: int (activity within 5 minutes invalidates reading) white_coat_flag: bool (patient-reported anxiety at clinic) Critical constraint also specified: 'All new Channel B rules require measurement_context IN [CLINIC, HOME_DEVICE]' And: 'Channel B HALT requires measurement_context IN [CLINIC, HOME_DEVICE] AND consecutive_reading_index >= 2' None of these fields appear in the plan. The plan's migration 005_htn_extensions.sql does not include them. The plan's raw_inputs.go additions (section 1.2 and 2.2) do not include measurement_context or consecutive_reading_index. Without measurement_context in Channel B, the system cannot distinguish a single home-reported BP reading from a confirmed clinic reading — the Channel B rules have no trust hierarchy.

Correction Required Add to Wave 2 (P1) as a standalone section: '2.X VitalFact BP Extension Fields' File: kb-20-patient-profile/internal/models/patient_profile.go — add 7 new VitalFact fields File: vmcu/channel_b/raw_inputs.go — add MeasurementContext string, ConsecutiveReadingIndex int, MinutesSinceLastActivity int, ArmAsymmetryFlag bool File: vmcu/channel_b/monitor.go — add measurement_context pre-check: all BP-based Channel B rules must verify MeasurementContext IN [CLINIC, HOME_DEVICE] AND ConsecutiveReadingIndex >= 2 before firing HALT or PAUSE File: kb-20-patient-profile/migrations/005_htn_extensions.sql — add VitalFact BP fields File: kb-20-patient-profile/internal/services/lab_service.go — bp_pattern computation requires time_of_day for morning surge and posture for orthostatic calculation

## Error 3 — White Coat / Masked HTN Detection and bp_pattern Enum Are Missing

Source: HTN Proposal Parts 2.3 and 3.1 — BP Pattern Classification The HTN Proposal specifies a bp_pattern enum in BPTrajectory: NORMAL ¦ WHITE_COAT ¦ MASKED ¦ MORNING_SURGE ¦ NOCTURNAL_NONDIP. It also specifies KB-20 detection logic for white coat (clinic >140, home <130 across 4+ paired readings) and masked HTN (clinic <140, home >135 across 4+ paired readings). MASKED_HTN_DETECTED is a named KB-20 event in the event bus specification. Chronotherapy (Amendment 10, plan section 3.2) depends on bp_pattern = MORNING_SURGE — without bp_pattern being computed, the Amendment 10 card logic cannot function. None of this appears in the plan: bp_pattern is not in the BPTrajectory struct additions, WHITE_COAT and MASKED detection logic is not specified, and MASKED_HTN_DETECTED is not in the event bus extensions table.

Correction Required Add to BPTrajectory struct (kb-20/models/lab_tracker.go): BPPattern string enum field Add bp_pattern computation to lab_service.go: paired clinic/home readings comparison logic Add MASKED_HTN_DETECTED to event bus extensions table in the plan Add white_coat detection logic: flag to card_builder.go generating HYPERTENSION_REVIEW with 'caution against over-treatment' Chronotherapy section (3.2) is non-functional without bp_pattern. Update section 3.2 dependency note.

## Error 4 — measurement_uncertainty Flag Not Propagated to Channel B

Source: HTN Amendments Amendment 3.3 — AF and BP Measurement Accuracy Amendment 3.3 specifies: 'Add measurement_uncertainty: HIGH flag when hr_regularity = IRREGULAR. Channel B should not fire hard HALT on a single BP reading flagged as HIGH uncertainty.' The plan (section 2.2) correctly adds the MeasurementUncertainty flag to patient_profile.go. But it does not add this flag to raw_inputs.go and does not modify Channel B monitor.go to check it before firing BP-based HALT rules. The consequence: a patient with confirmed atrial fibrillation (B-16 fires PAUSE) sends a second BP reading. Oscillometric cuffs are unreliable in AF — the reading may be 15-20 mmHg higher than true BP due to irregular cycle measurement. Channel B fires HALT on this inaccurate reading. The system incorrectly freezes insulin titration based on a measurement artefact from the very rhythm it just detected.

Correction Required File: vmcu/channel_b/raw_inputs.go — add: BPMeasurementUncertainty string // NORMAL ¦ HIGH ¦ UNKNOWN File: vmcu/channel_b/monitor.go — in all BP-based rules (B-08, B-09, B-10, B-12): if BPMeasurementUncertainty == HIGH AND ConsecutiveReadingIndex < 3 → require 3 readings (not 2) to confirm. Annotate in SafetyTrace. File: vmcu_engine.go — orchestrator sets BPMeasurementUncertainty = HIGH when patient has IRREGULAR hr_regularity on record File: safety_trace.go — add MeasurementUncertaintyApplied bool field

## Error 5 — Five Original HTN Simulation Scenarios Are Not in the Plan

Source: HTN Proposal Part 9 — Six Required HTN Simulation Scenarios The HTN Proposal specifies 6 simulation scenarios for the HTN integration. The plan includes 15 new scenarios (9-23) but maps only 1 of the original 6 (scenario 11 = beta-blocker, original HTN scenario 3). The following 5 original HTN scenarios are absent from the plan's simulation list: HTN Original 1: BP rising trend over 4 weeks (128→138→148→156 SBP), glucose stable at target Expected: DECLINING classification, BP_ALERT event, HYPERTENSION_REVIEW MODIFY card, V-MCU velocity −20% HTN Original 2: Hypertensive urgency — SBP 188 on clinic reading Expected: B-09 PAUSE fires, BP_URGENCY_ALERT emitted, HALT card, V-MCU frozen, real-time physician notification HTN Original 4: SGLT2i stopped (eGFR hits 44), BP rises 5 mmHg above target Expected: PG-02 PAUSE, HYPERTENSION_REVIEW attributing BP rise to SGLT2i removal, perturbation window active HTN Original 5: Patient on ACEi + ARB simultaneously (dual RAAS) Expected: PG-12 HALT + SAFETY_INSTRUCTION, urgent MEDICATION_REVIEW card HTN Original 6: Orthostatic drop −24 mmHg confirmed (2 readings) Expected: B-10 PAUSE, ORTHOSTATIC_ALERT, HYPERTENSION_REVIEW HYPOTENSIVE sub-type, V-MCU holds dose increases only These are not edge cases — they are the core HTN safety scenarios. They must pass before pilot alongside scenarios 9-23.

Correction Required Add 5 simulation scenarios to the plan's simulation table (renumber or insert as 9A-9E, or continue as 24-28): Scenario 24: BP rising trend over 4 weeks → DECLINING + HYPERTENSION_REVIEW MODIFY Scenario 25: Hypertensive urgency SBP 188 → B-09 PAUSE + BP_URGENCY_ALERT + V-MCU HALT Scenario 26: SGLT2i stopped (eGFR 44) + BP rises → PG-02 + perturbation window + attributed HYPERTENSION_REVIEW Scenario 27: Dual RAAS (ACEi + ARB) → PG-12 HALT + SAFETY_INSTRUCTION card Scenario 28: Orthostatic drop −24 mmHg confirmed → B-10 PAUSE + ORTHOSTATIC_ALERT + HYPOTENSIVE card New simulation files: scenario_24_bp_declining_test.go through scenario_28_orthostatic_test.go

## Error 6 — RAAS Monitoring Re-Evaluation Trigger Is Unspecified

Source: HTN Amendments Section 1.3 — RAAS Creatinine Monitoring Protocol The plan (Wave 1, section 1.1 Step 5) correctly specifies the RAAS monitoring card template with Day 7/14/30 checkpoints. But it does not specify WHO triggers the escalation from PAUSE to HALT when creatinine continues rising at Day 7. The monitoring protocol requires: 'If rise now >30% from baseline OR K+>5.5 → escalate to HALT'. This escalation can only happen if new creatinine arrives in KB-20's lab pipeline AND the system re-evaluates the PG-14 decision against the updated value. Without a trigger: PG-14 fires PAUSE on Day 0 (ACEi increase + 18% creatinine rise). The card generates a Day 7 check instruction. The patient gets a creatinine test on Day 7 — it is now 38% above pre-RAAS baseline. The system does nothing because V-MCU's next RunCycle() only fires when triggered by a new glucose reading, not by a new lab result. The monitoring protocol exists in a card but has no architectural enforcement.

Correction Required Add to Wave 1, section 1.1: File: kb-20-patient-profile/internal/services/lab_service.go — when a new creatinine LabEntry arrives AND patient has an active RAAS_MONITORING flag: re-evaluate creatinine delta vs pre-RAAS baseline. If >30% OR K+>5.5 → emit RAAS_MONITORING_ESCALATE event. File: kb-20-patient-profile/internal/models/events.go — add RAAS_MONITORING_ESCALATE event type. File: kb-23-decision-cards/internal/services/card_builder.go — on RAAS_MONITORING_ESCALATE → close monitoring card, fire new HALT-level MEDICATION_REVIEW card with escalation reason. File: kb-23-decision-cards/internal/services/card_lifecycle.go — at Day 14: if no new creatinine received (monitoring check missed) → generate reminder card: 'RAAS monitoring creatinine overdue — repeat before resuming SAFE status'. Add to patient_service.go: raas_monitoring_active flag + pre_raas_creatinine_baseline value, cleared when SAFE status restored.

# Section 2 — Missing Components (Entire Sections Absent from Plan)

## Missing 1 — Tier-1 Has No Changes Specified Despite Multiple Amendments Requiring It

Four separate amendments require new questions to be delivered to patients via Tier-1 (WhatsApp). None of them appear in the plan's implementation sections.

| Amendment | Required Tier-1 Change | Risk if Missing |
| --- | --- | --- |
| Amendment 4 — Antihypertensive Adherence | Weekly check-in addition: 'Did you take your blood pressure tablet [drug name] every day this week?' FDC-aware: combined tablets asked as one unit. | KB-21 antihypertensive adherence map cannot be populated — the entire adherence pre-condition gate (AD-01) has no data to evaluate. DEPRESCRIBING_MODE entry decisions will be made without adherence information. |
| Amendment 5 — ACEi Cough | New symptom pathway trigger: if patient on ACEi AND reports cough in any Tier-1 check-in → route to KB-22 HPI session for COUGH_ON_ACEI node. | ACEi cough detection (KB-22 node) will never activate unless Tier-1 extracts 'cough' from patient free text and routes correctly. Without explicit routing rule, cough is logged as a generic symptom. |
| Amendment 10 — Chronotherapy | One-time question at medication reconciliation: 'When do you take your blood pressure tablet — morning or evening?' Capture into MedicationFact.dose_timing. | dose_timing = UNKNOWN for all patients. Chronotherapy recommendation (section 3.2) cannot distinguish morning from evening dosers — it will never generate a timing-based suggestion. |
| Amendment 12 — Salt Sensitivity | 3-question dietary sodium assessment in initial intake or next check-in: pickle/papad frequency, post-cooking salt addition, processed food frequency. | KB-21 dietary_sodium_estimate = UNKNOWN. Lifestyle-first sequencing card (section 3.3) has no data. Salt reduction intervention never fires. |

Correction Required Add a new Wave 2 (P1) section: '2.X Tier-1 Question Extensions' File: tier-1 patient channel adapter / check-in flow — add antihypertensive adherence question(s) to weekly check-in protocol, with FDC-aware drug name insertion File: tier-1 / symptom extraction pipeline — add 'cough' as a routable symptom keyword that triggers KB-22 HPI session for ACEi patients File: tier-1 / medication reconciliation flow (M0 or Day 14 check-in) — add dose_timing question for antihypertensive patients File: tier-1 / initial intake or next check-in — add 3-item dietary sodium questionnaire block for all patients with antihypertensive on medication list

## Missing 2 — Channel C AF Anticoagulation Safety Rule (PG-16)

Amendment 3.3 specifies a new Channel C rule for confirmed atrial fibrillation: 'confirmed_af = true → PAUSE + safety instruction re anticoagulation review.' This rule is distinct from B-16 (which fires PAUSE + KB22_TRIGGER on irregular HR). B-16 is a haemodynamic rule. The anticoagulation safety rule is a medication safety rule — it belongs in Channel C.

The Clinical Gap AF in DM+HTN patients is 3-5x more prevalent than the general population. These patients are routinely prescribed anticoagulants (warfarin, rivaroxaban, apixaban). Anticoagulants interact with: SGLT2i (haematocrit elevation affects warfarin dosing), high-dose HCTZ (diuretic effects amplify warfarin), and NSAIDs if used for pain. If the system detects AF (B-16 fires, KB-22 confirms the differential with high posterior) and then continues insulin titration without flagging anticoagulation review, it may propose dose changes in a patient whose pharmacological context has fundamentally changed. This rule is absent from the plan and has no assigned rule ID. PG-15 in the plan is ACEi cough. The AF anticoagulation rule should be PG-16.

Correction Required Add to Wave 2 (P1) section 2.1 (Channel C extensions): PG-16: confirmed_af = true (KB-22 AF posterior > 0.75) → PAUSE + SAFETY_INSTRUCTION File: protocol_rules.yaml — PG-16 entry File: channel_c/context.go — add AFConfirmed bool field File: vmcu_engine.go — orchestrator sets AFConfirmed from KB-22 latest session result New KB-23 template: templates/af_anticoagulation_review.yaml — card note: 'AF detected. Review anticoagulation plan and medication interactions before resuming titration.'

## Missing 3 — Beta-Blocker Perturbation Window HR Threshold Adjustment

Amendment 2 specifies: 'Beta-blocker added or dose increased → raise Channel B HR HALT threshold by 5 bpm during the 2-week perturbation window.' This means if the HR HALT threshold is normally 45 bpm (B-13), during the beta-blocker perturbation window it should be 40 bpm — because HR reduction is the expected therapeutic effect, not bradycardia.

The plan's perturbation table correctly lists 'Beta-blocker added or dose increased → HR decrease expected, 2-week window.' But the plan does not specify the Channel B threshold adjustment mechanism — the 5 bpm reduction during the perturbation window. Without this, B-13 will fire HALT for a patient whose HR is 42 bpm two days after starting a beta-blocker, even though this is exactly the intended pharmacological response.

Correction Required File: vmcu/channel_b/raw_inputs.go — add: BetaBlockerPerturbationActive bool (true if beta-blocker started/increased within 14 days) File: vmcu/channel_b/monitor.go — in checkB13: if BetaBlockerPerturbationActive = true, apply HALT threshold at (normal_threshold − 5), i.e., 40 bpm instead of 45 File: vmcu_engine.go — orchestrator sets BetaBlockerPerturbationActive from perturbation service File: safety_trace.go — record adjusted threshold and perturbation reason Add acceptance criterion: 'Beta-blocker started 3 days ago, HR = 42 bpm → B-13 does NOT fire HALT (threshold adjusted to 40)'

## Missing 4 — Thiazide Perturbation Card Annotation (K+ Causal Context)

Amendment 2 specifies that when a thiazide perturbation window is active and K+ falls: 'Do not flag as dangerous until K+ <3.3. PG-11 threshold remains at <3.5 but include causal context in card.' This is a nuanced instruction — PG-11 still fires at K+<3.5 (the safety threshold is unchanged) but the KB-23 card that generates must include a causal note explaining that the hypokalaemia may be expected from thiazide initiation.

The plan lists the thiazide perturbation window correctly in the table but does not specify the K+<3.3 exception for dampening or the requirement for the PG-11 card to carry a causal context note when the window is active. Without this, every PG-11 card in a patient newly started on a thiazide will alarm without context, generating unnecessary physician escalation.

Correction Required File: channel_c/context.go — add ThiazidePerturbationActive bool and ThiazideStartDate *time.Time File: card_builder.go — when PG-11 fires AND ThiazidePerturbationActive = true → add CausalNote field to card: 'Hypokalaemia detected. Patient recently started thiazide [X days ago]. Mild K+ reduction (−0.3 to −0.5 mmol/L) is expected within first 3 weeks. If K+ < 3.3 mmol/L or symptomatic, treat as clinically significant regardless of thiazide timing.' Add acceptance criterion: 'Thiazide started 10 days ago, K+ = 3.4 → PG-11 fires PAUSE with causal context note in card (not a plain PAUSE card)'

## Missing 5 — Database Migration 005 Is Incomplete

The plan's database migration 005_htn_extensions.sql lists: 'HR fields, ACR tracking, Na+ lab type, season enum, BP variability, pulse pressure.' Seven categories of new schema are missing from this list based on the source documents.

| Missing from Migration 005 | Source |
| --- | --- |
| VitalFact BP extension fields (measurement_context, posture, arm, time_of_day, consecutive_reading_index, minutes_since_last_activity, white_coat_flag) | HTN Proposal Part 2.2 — required for Error 2 above |
| bp_pattern enum field in BPTrajectory (WHITE_COAT ¦ MASKED ¦ MORNING_SURGE ¦ NOCTURNAL_NONDIP) | HTN Proposal Part 3.1 — required for Error 3 above |
| raas_monitoring_active flag + pre_raas_creatinine_baseline in patient state | HTN Amendments Amendment 1 — required for Error 6 above |
| BPRiskStratum enum and SBPDecliningThreshold in BPTrajectory | EarlyWarning document EW-01/02 |
| DamageComposite struct (damage_concern_score, contributing signal breakdowns) | EarlyWarning document EW-07 |
| Deprescribing state machine fields (DeprescribingPhase, MonitoringStartDate, PreStepDownDose etc) | EarlyWarning document AD-04 |
| AF confirmed flag in patient state (for PG-16) | HTN Amendments Amendment 3.3 |

Correction Required Extend the migration 005 table in the plan to include all the above fields. Consider splitting into two migrations: 005_htn_vitals_extensions.sql (VitalFact and BPTrajectory fields) and 006_htn_clinical_state.sql (monitoring flags, deprescribing state, damage composite).

# Section 3 — Implementation Gaps (Correct Component, Incomplete Specification)

## Gap 1 — Amendment 1 Upgrade Conditions Need Their Own Test

The plan specifies 3 tests for Amendment 1: RAAS tolerance suppression (correct), tolerance exceeded at 35% (correct), tolerance with high potassium (correct). Missing: a test for the oliguria condition. PG-14's suppression requires 'AND no oliguria reported.' Oliguria is captured from KB-22 HPI sessions or Tier-1 safety gate questions. The test `TestB03_RAASToleranceWithOliguria` — creatinine rise 18%, RAAS change 5 days ago, but oliguria reported → HALT despite <30% rise — must be added.

## Gap 2 — Amendment 3 B-16 Does Not Specify the KB22_TRIGGER Mechanism

B-16 fires PAUSE + KB22_TRIGGER when irregular HR is confirmed. The plan correctly adds the rule to monitor.go and creates p_irregular_hr.yaml. But the plan does not specify how KB22_TRIGGER translates into a KB-22 HPI session. The event handler kb19_handler.go is listed as the file but the event type KB22_HPI_TRIGGER is not added to the event bus extensions table, and no KB-22 session initiation handler is specified on the receiving end.

Correction Required Add KB22_HPI_TRIGGER to the event bus extensions table in Cross-Cutting Concerns. Add to KB-22 implementation: a handler for KB22_HPI_TRIGGER events that creates a new HPI session with the p_irregular_hr.yaml node pre-loaded as the opening differential. Specify the session payload: patient_id + trigger_source=B16 + bp_measurement_uncertainty=HIGH. The HPI engine must record that the session was triggered by a haemodynamic event, not a patient-reported symptom.

## Gap 3 — Amendment 4 FDC Adherence Requires KB-20 Drug Mapping

The plan correctly notes that FDC antihypertensives (e.g., telmisartan+amlodipine combined tablet) should be treated as a single adherence unit. But the mapping of brand-name FDC tablets to their constituent drug classes requires a reference lookup — either in KB-1 (Drug Properties) or a new FDC registry. Without this mapping, the adherence service does not know that 'Telma-AM' adherence represents both ARB and CCB adherence simultaneously. The plan does not specify where this mapping lives or how it is maintained.

Correction Required Add to KB-21 adherence_service.go: FDC drug class resolver — takes drug name from MedicationFact, queries KB-1 for constituent drug classes, maps adherence to all constituent classes. KB-1 data requirement: FDC drug class mapping must be authored for common Indian FDC antihypertensives (Telma-AM, Amlovasc-plus, Tenlicard-AM, Eritel-CH, etc). If this KB-1 data is not available at Wave 2 launch: fallback behaviour must be specified — when FDC drug class is unresolved, treat as single-class adherence under the primary component.

## Gap 4 — Resistant HTN Detection (Amendment 6) Lacks 'Optimised Dose' Definition

The plan's resistant HTN detection logic requires '3+ drug classes at optimised doses.' But 'optimised dose' is not defined — it requires a reference to KB-1 maximum recommended doses per drug class, per eGFR stratum. A patient on ramipril 2.5 mg with eGFR 55 may be at half the optimal dose for their stratum. The system must not classify this as resistant HTN — it should first flag suboptimal dosing.

Correction Required File: kb-20-patient-profile/internal/services/patient_service.go — add KBl drug class dose optimisation check: for each antihypertensive drug class active, query KB-1 for max_recommended_dose[drug_class][egfr_stratum]. If current dose < 80% of max → drug is not at optimised dose → resistant HTN criterion not met. Add to resistant HTN card: if BP above target AND 3+ drug classes active but NOT all at optimised doses → card note: 'BP above target. Consider uptitrating [drug class] to maximum tolerated dose before classifying as resistant hypertension.'

## Gap 5 — Amendment 9 ACR DEPRESCRIBING Veto Needs Specificity for ACEi vs Non-ACEi

The plan correctly adds: 'ACEi/ARB must never be deprescribed if ACR = A2 or A3.' But the veto in titration/deprescribing.go must also handle the case where a patient is deprescribing a thiazide or CCB (not ACEi/ARB) while ACR is A2 or A3. The veto in that scenario should not block the thiazide/CCB step-down — it should only prevent ACEi/ARB removal. The plan's veto is specified at the wrong level of granularity, potentially blocking the entire antihypertensive deprescribing pathway when only the RAAS component should be protected.

Correction Required File: titration/deprescribing.go — the ACR veto must be drug-class-specific: if drug_class_being_deprescribed IN [ACEi, ARB] AND ACR IN [A2, A3] → veto. NOT a blanket DEPRESCRIBING_MODE block. Thiazide or CCB step-down in ACR A2/A3 patients remains allowed (subject to other conditions). The card for thiazide step-down in ACR A2/A3 should note: 'Note: ACEi/ARB is protected from removal while proteinuria is present. This step-down applies only to [thiazide/CCB].'

## Gap 6 — EW-07 Damage Composite Score Needs Hysteresis Specification

The plan's risk register correctly identifies: 'Damage composite score alert fatigue if signals fluctuate — score resets only when ALL contributing signals normalise.' But the hysteresis rule is mentioned only in the risk register, not in the implementation specification for EW-07. The DamageComposite struct and its computation in lab_service.go have no reset condition specified.

Correction Required Add to EW-07 implementation: score reset condition: score reduces by one point only when the contributing signal has been in the normal range for ≥ 2 consecutive readings (not just one). DamageComposite struct: add LastScoreChangeAt time.Time and SignalNormalisedConsecutiveCount int per signal type. Alert hysteresis: if score was ≥5 (DAMAGE_COMPOSITE_ALERT fired), alert does not close until score drops to ≤2 for 2 consecutive cycles.

## Gap 7 — AD-04 Does Not Specify What Happens to V-MCU During Deprescribing State

When antihypertensive DEPRESCRIBING_MODE is active (a drug is in the MONITORING phase after dose halving), V-MCU RunCycle() is not aware of this state. The plan specifies the two-action state machine in KB-23 card_lifecycle.go but does not address V-MCU's behaviour. During antihypertensive monitoring: should V-MCU gain_factor be reduced? Should BP-based velocity modulation still apply normally? The HTN Proposal (§3.4) states 'No V-MCU change — no autonomous antihypertensive titration' for HTN DEPRESCRIBING_MODE, but this applies to antihypertensive changes, not to glucose titration behaviour. The question is whether BP deterioration detected during step-down monitoring should pause glucose titration while the physician reviews.

Correction Required Add to AD-04 specification: V-MCU behaviour during antihypertensive DEPRESCRIBING monitoring phase: Normal glucose titration continues (no gain_factor change) unless bp_status transitions to ABOVE_TARGET during monitoring. If bp_status = ABOVE_TARGET during monitoring phase → V-MCU velocity modulation applies (same as HYPERTENSION_REVIEW MODIFY logic). This is not a new gate — it reuses existing BP-velocity coupling. Specify this clearly in vmcu_engine.go RunCycle() comments: 'Antihypertensive DEPRESCRIBING monitoring does not change glucose titration independently — BP trajectory rules apply normally.'

## Gap 8 — SGLT2i Partial Dose Reduction Not Addressed (Risk Register Item)

The risk register correctly identifies: 'SGLT2i buffer accounting ignores partial SGLT2i contribution (dose reduction vs full stop) — if dose reduced >50%, treat as partial buffer loss.' The AD-03 specification checks for 'SGLT2i stopped within 6 weeks.' But a patient whose SGLT2i was reduced from 10mg to 5mg (50% dose reduction) has lost approximately 50% of the BP buffer. This patient is not caught by the binary 'stopped' check.

Correction Required File: kb-20-patient-profile/internal/services/patient_service.go — SGLT2i buffer check should be dose-aware: If SGLT2i stopped within 6 weeks → full buffer lost → block deprescribing If SGLT2i dose reduced ≥50% within 6 weeks → partial buffer lost → deprescribing allowed but monitoring window extended to 8 weeks and card notes partial buffer loss If SGLT2i dose reduced <50% → negligible buffer change → standard deprescribing criteria apply MedicationFact must carry SGLT2i dose history (current_dose + previous_dose + change_date) for this computation.

## Gap 9 — EW-05 Projection Assumes Linear Trajectory (Risk Register Item Not Remediated)

The risk register notes: 'weeks_to_severe projection assumes linear trajectory — underestimates urgency if BP is accelerating.' The risk register suggests: 'Card note: projection is a minimum estimate when slope is accelerating.' But neither the DamageComposite nor the BPTrajectory struct specification in the plan includes an acceleration field (the rate of change of sbp_4w_slope). Without detecting acceleration, the card note cannot be conditional.

Correction Required Add to BPTrajectory struct: sbp_slope_acceleration float64 — computed as (current_sbp_4w_slope − previous_4w_slope) / 4 weeks. Positive = slope is steepening (accelerating deterioration). In KB-23 bp_declining.yaml template: if sbp_slope_acceleration > 0 → add card note: 'BP trajectory is accelerating — actual time to severe range may be less than projected. This is a minimum estimate.' If acceleration ≤ 0 → projection note only.

# Section 4 — Minor Corrections

## Minor 1 — Rule Numbering Sequence

The plan assigns PG-14 (RAAS tolerance) and PG-15 (ACEi cough). PG-08 through PG-13 are missing from the plan (Error 1 above). Once PG-08 to PG-13 are added (from HTN Proposal Part 6.2) and PG-16 is added (AF anticoagulation, Missing 2 above), the complete Channel C rule sequence will be PG-01 to PG-16. The plan's test files and YAML entries should be numbered consistently from PG-01 upward without gaps.

## Minor 2 — TreatmentPerturbation Struct Location

The plan places TreatmentPerturbation extension in kb-23-decision-cards/internal/models/treatment_perturbation.go. Amendment 2.2 states that when 'V-MCU RunCycle detects a new medication change from FactStore, it creates a TreatmentPerturbation and stores it.' If TreatmentPerturbation is a KB-23 model, V-MCU cannot create it without importing KB-23 — violating the import isolation constraint. The struct should either be in a shared models package or the creation responsibility should remain with KB-23's perturbation service (which receives medication change events from KB-20) rather than V-MCU RunCycle(). Clarify ownership in the plan.

## Minor 3 — Simulation File Naming Convention

The plan uses scenario_9_raas_tolerance_test.go through scenario_23_... The original 8 scenarios in the Final Proposal use a different naming format. A consistent naming convention should be specified: either all scenarios are numbered by their sequence (scenario_01 through scenario_28 after corrections), or the HTN scenarios are namespaced separately (scenario_htn_01 through scenario_htn_20). The plan mixes the two approaches.

## Minor 4 — Sodium Is a LabFact Not a VitalFact

The plan's section 2.7 adds SodiumCurrent to raw_inputs.go correctly. But Migration 005_htn_extensions.sql adds Na+ as a 'lab type' — while in section 2.7 the plan also adds Na+ to the VitalFact KB-20 model. Amendment 11 is explicit: 'Sodium requires a new LabFact LOINC code (2951-2) in the FactStore projection. Na+ is not currently tracked in KB-20's LabEntry.' Sodium is a laboratory result (drawn blood/serum), not a vital sign (measured at home with a device). The plan should not add Na+ to VitalFact — it belongs in LabEntry alongside creatinine and potassium.

# Section 5 — Summary: Corrected Acceptance Criteria

The plan's acceptance criteria table is strong. The following items should be added to reflect the corrections above.

| Wave | New Acceptance Criterion | Source |
| --- | --- | --- |
| P0 | PG-08 through PG-13 all fire correctly in isolation tests — dual RAAS HALT, thiazide K+ PAUSE, SGLT2i low-SBP PAUSE, high-dose HCTZ MODIFY | Error 1 |
| P0 | Channel B BP HALT requires measurement_context IN [CLINIC, HOME_DEVICE] AND consecutive_reading_index >= 2 | Error 2 |
| P0 | Creatinine rise 18% + RAAS change 5d ago + oliguria reported → HALT (oliguria overrides tolerance) | Gap 1 |
| P0 | Simulation scenarios 24-28 all pass (BP rising trend, HTN urgency, SGLT2i-BP rise, dual RAAS, orthostatic) | Error 5 |
| P0 | New creatinine arriving at Day 7 post-RAAS at 38% rise → RAAS_MONITORING_ESCALATE emitted → HALT card generated | Error 6 |
| P1 | bp_pattern computed correctly: clinic >140 + home <130 paired → WHITE_COAT status | Error 3 |
| P1 | MASKED_HTN_DETECTED event emitted when home SBP >135 + clinic SBP <140 across 4+ paired readings | Error 3 |
| P1 | Single BP reading flagged HIGH uncertainty (irregular HR) → Channel B requires 3 readings to fire HALT | Error 4 |
| P1 | Beta-blocker started 3 days ago + HR 42 bpm → B-13 does NOT fire HALT (threshold adjusted to 40) | Missing 3 |
| P1 | Thiazide started 10d ago + K+ 3.4 → PG-11 fires PAUSE with causal context note in card | Missing 4 |
| P1 | B-16 fires PAUSE + KB22_HPI_TRIGGER event → KB-22 starts HPI session with p_irregular_hr.yaml | Gap 2 |
| P1 | Antihypertensive adherence FDC: 'Telma-AM' adherence maps to both ARB and CCB adherence classes | Gap 3 |
| P1 | Damage composite score 5 → closes only after score ≤2 for 2 consecutive cycles (hysteresis) | Gap 6 |
| P1 | Thiazide step-down allowed in ACR A2/A3 patient; only ACEi/ARB step-down is vetoed | Gap 5 |
| P1 | PG-16 fires PAUSE + SAFETY_INSTRUCTION when AF confirmed posterior > 0.75 from KB-22 | Missing 2 |
| P2 | SGLT2i dose reduced 50% within 6 weeks → deprescribing allowed but monitoring extended to 8 weeks | Gap 8 |
| P2 | Accelerating BP slope (sbp_slope_acceleration > 0) → projection card note says 'minimum estimate' | Gap 9 |

Overall Assessment The implementation plan is well-structured and demonstrates a strong understanding of the architecture. The wave assignments, file locations, and acceptance criteria are largely correct. The plan should not proceed to engineering build until the 6 hard errors are resolved: PG-08 to PG-13 added, VitalFact BP fields added to Channel B, bp_pattern and WHITE_COAT/MASKED logic added, measurement_uncertainty propagated to Channel B, 5 missing HTN simulation scenarios added, and RAAS monitoring re-evaluation trigger specified. The 5 missing components (Tier-1 questions, PG-16, beta-blocker perturbation threshold, thiazide perturbation card annotation, complete migration 005) can be added during the plan update without delaying the wave structure. Total items to address: 6 hard errors + 5 missing components + 9 implementation gaps + 4 minor corrections = 24 plan updates before build sign-off.